Progress report 2002 and Beamrequest for 2003:

Precision Measurement of Singlet p Capture in Hydrogen

PSI Experiment R-97-05, spokesperson P. Kammel, C. Petitjean

(Cap Collaboration

www.npl.uiuc.edu/exp/mucapture

# Introduction and Summary

In 2002 main parts of the final (Cap detector were constructed according to the technical proposal, . The detector consists of an inner part - muon wire chambers ((PC1,2) and a time projection chamber (TPC) operating in ultra pure hydrogen gas at 10 bar as the muon tracking and active stop target - and of an outer part - two cylindrical SINDRUM chambers (ePC1,2) and a two layer scintillator hodoscope (eSC) acting as the tracking electron detector.

The current status and plans of the overall project are summarized in table 1.

| subsystem | responsibility | Status |
| --- | --- | --- |
| detectors |  |  |
| PC1 | PNPI | commissioned |
| PC2 | PSI/PNPI | commissioned |
| TPC | PSI/PNPI | commissioning May 03 |
| ePC1 | PSI/UIUC | commissioned |
| ePC2 | PSI/UIUC/PNPI | construction 1st half 03, commissioning summer 03 |
| eSC | UIUC | commissioned |
| electronics |  |  |
| TPC | PNPI/PSI/UCB | commissioned |
| DAQ | UCB/UK | all hardware purchased, software refinements and integration 03 |
| ePC anode | UIUC/PNPI | commissioned |
| ePC cathode | UIUC/PNPI | commissioned |
| ePC TDC | UCL | commissioned |
| fast wave form digitizer | UK, BU | g-2 version commissioned, final version under construction at BU |
| support structure |  |  |
| hydrogen vessel | PSI | commissioned |
| ePC, eSC support | UIUC | commissioned |
| gas system |  |  |
| H2 vessel, window | PSI | commissioned, Be window 03(PNPI) |
| pumping system | PSI | commissioned |
| protium production | PSI/PNPI | commissioned |
| chromatography | PNPI | commissioned |
| gas cleaning system | PSI/PNPI | basic system ready, circulating system under construction |
| additional isotope separation | PNPI | planning |
| magnet | UCB | commissioned |

## Unanticipated Problems

Two major and unexpected challenges had to be overcome by a joint effort of the collaboration.

- The PSI wire chambers installed in the SINDRUM I detector were found to be severely damaged; only a new spare chamber (type 3) is fully functional. Although these chambers were originally a deliverable of PSI, UIUC and PNPI will contribute to cover expenses and manpower for the construction of a new ePC2 with the support and existing chamber materials of the PSI detector group. The construction and commissioning of the new chamber will take place in the first half of 2003.

- The Canadian supplier of ultra-pure protium (certified deuterium content less than 1 ppm) delivered hydrogen with 2000 ppm of deuterium, which contaminated our protium gas system. Additional purchases of purification components by PSI and PNPI helped to overcome this setback. Additional diagnostic methods were established to directly verify the isotopic gas quality.

## Milestones

The following key milestones were achieved

- The hydrogen muon chamber PC2, based on a new bake-able design to fulfill the stringent purity requirements, was constructed and successfully commissioned with muons4. The complete TPC was constructed and is presently being conditioned.

- The complete electron detector (with the exception of ePC2) was constructed and commissioned. This includes the new scintillator hodocope eSC, wirechamber ePC1 with new low-noise, chamber mounted front-end electronics and a support structure on rails.

- New data compression units and a new DAQ system were developed for high data rate and dead-time free wire chamber readout.  The system was successfully brought into operation during the fall 2002 run.

- A realistic setup of the electron detector was used for high statistics + lifetime measurements during the commissioning run in Nov, Dec 2002.  This included the final (SR magnet in different geometrical configurations, the full data acquisition chain and a selection of muon stopping targets (scintillator, silver). Exceeding our expectations for a commissioning run, we already obtained a statistics comparable to the best existing + lifetime experiments.

- The routine production of 600 atmospheric liters of protium with less ~1 ppm deuterium contamination was demonstrated, using improved gas diagnostics methods (Ioffe institute, ETH, PSI). The gas chromatography for N2, O2 and H2O was further improved and used for repeated sampling of the gas quality in the production process and the TPC volume.

Milestones planned for 1st half of 2003.

- Commissioning of PSI TPC in May 2003.

- Construction of ePC2, with commissioning planned in July 2003.

- Construction of a continuously circulating hydrogen purification system by PNPI until June 2003. This projected is made possible by a US Civilian Research Development Foundation grant (60 000$), recently awarded jointly to PNPI and UIUC.

- The collaboration, in particular several graduate students involved in this experiment, will develop software and analysis tools, analyze the significant statistics of the commissioning run for data quality, systematic effects and lifetime determinations. In this way we plan to prepare an optimized first main data taking run.

After accomplishing these milestones the R&D and construction phase for this complex project is finished and the collaboration is ready for first physics running in fall 2003.

## Beam Time Request for 2003

For 2003 beam time is requested:

- For a commissioning run of the TPC detector in area E4 (4 weeks in May 2003).

- For a first production run with negative and positive muons (8 weeks after August 2003). The goal of this run is a first published result of the capture rate S at a few percent precision. This data will be part of the thesis work of three graduate students working on the Cap experiment. The collaboration would prefer to perform this first data run at the well-established beam conditions of the E4 beam. If this is not possible, we request this beam time in area E3.

## Outlook for 2004

Considering the progress of the Lan kicker and pending further studies of the /e separation for negative cloud muons, the collaboration is considering to use a newly developed Muon-On-Request beam in E3 in 2004. The goal of the 2004 run would be a precision of 1% in the capture rate S as formulated in our original proposal1.

# Subsystem details

## Hydrogen muon chamber ((PC2)

The hydrogen muon chamber (PC2 is located inside the pressure vessel immediately in front of the TPC. It is a completely new design, since extremely stringent experimental conditions have to be met. Namely, the vessel and its chambers must be operated in 10 bar hydrogen, which has to be ultra clean to a level 0.01 ppm and deuterium-depleted to a level <1 ppm, thus avoiding muon transfers to any other isotopes or impurity elements. To meet these conditions, only UHV-proof materials, bake-able to 130 C, were chosen, e.g. special glass frames with metallic coatings onto which the wires are soldered. The principal function of the (PC2 is the detection of each incoming muon to define the entrance coordinate in the TPC. The anode signals and the induced ones from perpendicular cathode strips are read out giving the two-dimensional coordinates of the particles in a sensitive area of 88x110 mm2 (anode wires: pitch 4 mm, ( = 25(, cathode strips: four 1 mm spaced wires, ( = 50(, anode to cathode half gap 3.5 mm).

In May 2002, (PC2 was tested successfully in the (E4 beam. A detailed description and performance report can be found in Ref.. We have demonstrated that (PC2 can detect heavily ionizing slow muons as well as minimum ionizing electrons, depending on the cathode voltage setting (-6.0 kV to -6.5 kV). This result is very important as (PC2 prototypes the expected TPC performance, where electron tracks from muon decays should be observable for the study of systematic effects2.

## Time projection chamber (TPC)

Figure 2 shows the TPC in October 2002 during first assembly in the hydrogen pressure vessel. On the top side, there is a drift volume of height 120 mm, area 300x150 mm2. The drift voltage of ~30 kV produces a homogeneous electrical field of 2 kV/cm. In 10 bar hydrogen this leads to drift velocities of ~5 mm/(s (total drift times 0 - 24 (s). On the bottom part, the electron charges arrive at a MWPC which is built exactly like (PC2, except for the larger sensitive area (75 anode wires versus 36 cathode strips). All signals are wired via 50 pin feedthroughs to preamplifiers outside the vessel and from there to amplifiers and special customs built TDC boards in 9U VME crates which provide dead-time free data recording at 5 MHz sampling rate.

Figure 3 shows the first setup of the whole PC2/TPC system for tests in the muon beam, just before installation of the electron detector. Unfortunately the tune-up of the TPC suffered from some delays caused by dust like impurities, which had to be carefully removed. We expect to get the TPC operational during winter 2003 and plan to perform a new test and commissioning run in May 2003 when the PSI accelerators have resumed beam production.

The chambers operating in the ultra-clean hydrogen environment are critical parts of the experiment, as any repair involves significant pumping and conditioning times. The PNPI group has constructed a back-up set of the (PC2 and TPC MWPCs with identical geometry, but different glass-metal technology compared to the PSI development. The collaboration plans to build a complete second target vessel, so that two operating and exchangeable hydrogen chamber systems will become available in 2003.

## Electron detector

The electron detector is an independent detector block that should be moveable relative to the beam quadrupole (to allow easy access to its upstream detectors) as well as relative to the TPC. This latter motion has to be performed within high accuracy due to the small radial distance between the detector elements. Figure 3 displays the engineering model of the overall detector assembly and the electron detector set-up as currently installed in the (E4 area.

### Electron wire chambers (ePC1/2)

The wire chamber ePC1 was instrumented with new state-of-the-art frontend electronics, optimized for low noise and dead-time free readout. The complete electronics for ~2560 channels including also ePC2 (to be built in 2003) has been manufactured. The new preamplifier/discriminator cards are mounted directly on the chamber endrings. Digital signals using the LVDS standard are processed by custom built data compressors located in the experimental area on the detector frame. Together with careful shielding and grounding this greatly suppresses rf pickup dangerous for this precision lifetime measurement.

The discriminator outputs of the ePC frontend are continuously scanned by 20 compressor modules each handling 128 wires in two FPGAs. These modules collect only the hit wires in order to reduce the data flow. A controller module continuously empties the content of all FIFOs and sends the data to a VME SIS3600 multi-event FIFO input register. Each compressor also provides DAC controlled DC levels to set the frontend discriminator thresholds and exponential test pulses of variable height and polarity for the preamplifiers.

### Electron scintillation hodoscope (eSC)

The scintillator hodoscope defines the time of the electron decay. It is a barrel of 16 double layered coincidence bars of 5 mm thick scintillators (c.f. fig. 4). The detector design had to be carefully optimized to fit the tight (Cap geometrical constraints, e.g. different lightguides were constructed for the inner and outer layers. Each scintillator bar is read out by two photomultipliers placed on opposite sides, so that the z position of the electron trajectory can be derived from the light propagation in addition to the ( position given by the cylindrical segmentation. The electron hits are highly over-constrained as they correspond to a coincidence of 2 detectors and 4 photomultipliers, which suppresses potential systematic effects due to afterpulsing of the phototubes. The scintillator signals are read out in two complementary ways: a) with discriminators and multihit TDCs, b) with fast wave form digitizers, which are developed for the Lan experiment. Method a) is simple and the detector is already fully instrumented with these TDCs, method b) was applied to 48 multipliers and allows for detailed pulse shape analyses leading to better time resolution, pulse pair rejection and evaluation of systematic effects.

## Data acquisition system

Most of this year's DAQ work was directed towards establishing a fundamental infrastructure. All essential components to operate the four VME crate system with high speed data transfer via the PVIC bus are now in place including hardware control logic, data modules, data transfer connections and control software. During the commissioning run the DAQ system was successfully used to write more than 1 TByte of data to the PSI archive. In 2003, we will begin refining and streamlining the DAQ operation.  It is our intention to have a robust and nearly dead-time free DAQ ready in time for the anticipated fall 2003 run.

## SR magnet

The remnant polarization for positive muons introduces a position dependent intensity variation of the decay positrons as they are preferentially emitted parallel to the muon spin which precesses in a magnetic field. The weakness of the earth's magnetic field together with unavoidable differences in the local efficiency of the detector would give a very hard to handle contribution in the decay time spectra. Our experiment uses a constant magnetic field in the target region to precess the muons under controlled conditions, with ~70 Gauss field resulting in a precession time about half the muon lifetime. Two water-cooled saddle coils in cos( configuration were extensively tested during the run in fall 2002. They provided an 80 Gauss field with homogeneity of better than 10 % at 200 A current. A pumping system cools the coils to a working temperature of 25 C. Operation safety is provided by temperature switches which block the current supply if the coils heats up to more than 35 C.

# References

# Endnotes

D.V. Balin et al., High precision measurement of the singlet (p capture rate in H2 gas, 
          PSI proposal R-97-05 (1996) and documentation on http://www.npl.uiuc.edu/exp/mucapture

V.A. Andreev et al., Precision Measurement of Singlet  Capture in a Hydrogen TPC,
          Technical Proposal, PSI Proposal R-97-05, February 2001

P. Kammel et al., High intensity muon/pion beam with time structure at PSI, 
         PSI letter of intent, R-98-04.0, 1998,  Hyperfine Interactions 119 (1999) 323

J. Egger, D. Fahrni, L. Meier, C. Petitjean,  Test of the hydrogen wire chamber PC2 developed 
        for the MUCAP experiment, Cap note 25, see http://www.npl.uiuc.edu/exp/mucapture/documents

# Text boxes

Figure 2: TPC during assembly

Figure 1: (PC2 mounted on the entrance flange of the pressure vessel

Figure 1

Figure 3: Full PC2/TPC detector with protium gas system installed in E4 area (Oct. 02)

Figure 4: engineering model and installed electron detector as of Nov 02

Figure 6: (SR magnet

Figure 5: downstream side of ePC1 and hodoscope. Shielded LVDS cables connect front-end to data compressors.