Slow control

Peter Kammel

# Introduction

The MuCap experiment will run over extended time periods. Thus efficient slow control is essential to maintain high data quality with small manpower.

The slow control tasks can be separated as follows:

- Midas recording of slow control parameters

  - control

  - trend display

  - alarm levels

- Routine analysis of fraction of incoming data

  - Data quality checks

  - Spectra creation

  - Derivation of parameters and display of trendlines

  - Definition of alarm levels

# Midas control

Berkeley has the overall responsibility/coordination of this task.

| subsystem | parameters |  |
| --- | --- | --- |
| TPC | HV, current |  |
| Hydrogen | Pressure, interlock |  |
| MPC1 | HV, current |  |
| MPC2 | HV, current |  |
| EPC1 | HV, current, gas flow* Compressor param. |  |
| EPC2 | HV, current |  |
| ESC | HV, current Discriminators |  |
| Purifications systems | Interface to control system ? |  |
| support | Proximity monitor? tiltmeter? resistance? Temperature? |  |
| magnet | Current, temperature? |  |
| Count rates | Scalers |  |

*UIUC will purchase electronic flowmeter

Which safety interlocks:

- Gas Pressure drips all chambers

- ?

Which moduls (should be checked during this run):

- Camac scalers, Camac slow ADC

# Analysis control

Illinois has overall responsibility/coordination of this task. Probably done with ROOT.